## Slide 1: Design, build and test of a Digital Altimeter based on a Barometer
Group 3 (Salaheldin Mohamed Salah Hussein Hassan, Alexander Heppe, Mohamed Aziz Rais)

## Slide 2: AGenda
Task description
Project Organization
  Gantt chart
  Bill of materials
Functional block diagram
Schematics
Printed circuit board design
Code
Tests
Manual

## Slide 3: Problem description
Task:
Design, build, and test an altimeter based on a barometer
Tips:
The barometer you can use: MS5611
Display the current altitude on a 7-segment indicator
Test the performance of the altimeter with a laser distance measurer

## Slide 4
Project Organization

## Slide 5: Gantt chart

## Slide 6
Bill of materials
GY-86 MS5611 Barometer
4-digit 7 segment LED TM1637
Laser distance meter GLM 40
PJRC TEENSY 4.0 Development Board
Additional materials:
6LF22 9V Battery
Battery clips
Plug in jumpers
EIC-104-3 circuit board
AMS1117-5 5V DC-DC Step-Down Converter

## Slide 7: Block diagram of the altimeter

## Slide 8: Schematics

## Slide 9: CODE (setup)
Repository Link

## Slide 10: Actual code (1)

## Slide 11: Actual code (2)

## Slide 12: Altitude Calculation from sensor

## Slide 13: Measurement error and noise
Digital Filtering
  For Pressure Values from the sensor:
    Moving Average Filter
Source: Link

## Slide 14: Measurement error and noise
Digital Filtering
  For Altitude Values
    Kalman Filter
Source: Link

## Slide 15: Tests
Altitude, accuracy and sensitivity testing:
Tested altimeter accuracy in lab and outside
Varied altitudes systematically, compared to a reference and laser measurement
Evaluated sensitivity with subtle altitude changes
Response time and stabilization testing:
Introduced rapid altitude changes to track response time of display
Checked the time it took the altimeter to correctly measure the new altitude
Power Supply Variation Test:
Fluctuated input voltage using a 9V battery and various laptops with lower voltage to assess resilience of altimeter
Noted a difference in the processing capacity of the microcontroller at different voltage levels
Communication Interface Test:
Scrutinized Teensy 4.0 I2C communication with barometer
Validated constant altitude data transmission
Logic Analyzer test

## Slide 16: Tests
Communication Interface Test:

## Slide 17: Manual
Most important contents of the manual:
1. Getting started (Power ON/OFF)
2. Display information (Altitude is shown in meters to reference ground)
3. Calibration (Calibration according to altitude and pressure in lab)
4. Operations (Use to get height difference to calibrated ground)
5. Maintenance (Keep dry and avoid impact of forces)
6. Contact (Questions should be addressed to TUM e-mail)

## Slide 18: Pictures on the way
BOM completeness check
Battery voltage testing
DC-DC converter testing

## Slide 19: Pictures on the way
Barometer testing
Code to read barometer
Soldering of PCB pins

## Slide 20: Pictures on the way
Code testing for LED display
LED display exchange
Check of barometer input

## Slide 21: Pictures on the way
Inside height calibration
Outside ground calibration
Final altimeter